## Slide 1: Requirements Management Services
Requirements Management
JobScheduler SNMP Support
Information for
Interested Parties

## Slide 2: Requirements Management Services
Architecture & Components for SNMP
  JobScheduler SNMP Architecture
  JobScheduler SNMP Agent and Monitoring Interface
  JobScheduler SNMP MIB Processing
Contents

## Slide 3: Architecture and Components for SNMP
JobScheduler SNMP Architecture
SNMP Components
Any System Monitor integrating an SNMP Manager and Trap Receiver can be used
JobScheduler Monitoring System requires an SNMP Master Agent
The JobScheduler SNMP Agent interacts with the SNMP Master Agent and provides information received from the Monitoring Interface
SNMP Message Flow
JobScheduler Instances
All instances report to a central database
This is the same set-up for all architectures including Active and Passive Clusters
JobScheduler SNMP Agent
SNMP Agent interacts with the Monitoring Interface to report errors
Request / response and traps are supported
JobScheduler Monitoring Interface
Active Cluster JobScheduler JS1
Active Cluster JobScheduler JS2
Active Cluster JobScheduler JS3
Database
access database
JobScheduler SNMP Agent
System Monitor
SNMP Manager
SNMP Master Agent
JobSchedueler Monitoring System
SNMP Trap Receiver
send traps
request / response

## Slide 4: Architecture and Components for SNMP
JobScheduler SNMP Agent and Monitoring Interface
SNMP Components
Any System Monitor integrating an SNMP Manager and Trap Receiver can be used
On the JobScheduler host an SNMP Master Agent is required
The JobScheduler SNMP Agent interacts with the SNMP Master Agent and provides information received from the Monitoring Interface
SNMP Message Flow
JobScheduler Instances
All instances report to a central database
This is the same set-up for all architectures including Active and Passive Clusters
JobScheduler SNMP Agent
SNMP Agent interacts with the Monitoring Interface to report errors
Request / response and traps are supported
JobScheduler Monitoring Interface
Database
access database
JobScheduler SNMP Agent
SNMP Master Agent
JobSchedueler Monitoring System
SNMP Master Agent
Provided by the server system that the JobScheduler SNMP Agent is operated for
JobScheduler SNMP Agent
Acting as an SNMP Subagent
Operated as a component in the JobScheduler Monitoring Interface
JobScheduler Monitoring Interface
Acting as a the only source for status information and job errors
Tightly integrated with SNMP Agent
Operated independently from JobScheduler instances

## Slide 5: Architecture and Components for SNMP
JobScheduler SNMP MIB Processing
SNMP Components
Any System Monitor integrating an SNMP Manager and Trap Receiver can be used
On the JobScheduler host an SNMP Master Agent is required
The JobScheduler SNMP Agent interacts with the SNMP Master Agent and provides information received from the Monitoring Interface
SNMP Message Flow
JobScheduler Instances
All instances report to a central database
This is the same set-up for all architectures including Active and Passive Clusters
JobScheduler SNMP Agent
SNMP Agent interacts with the Monitoring Interface to report errors
Request / response and traps are supported
JobScheduler Monitoring Interface
MIB Database
JobScheduler SNMP Agent
SNMP Master Agent
JobSchedueler Monitoring System
JobScheduler SNMP Agent
Requests and/or receives information on job errors from the Monitoring Interface
Maps job errors to MIB entities
Reports MIB entities to the SNMP Master Agent
MIB Database
Contains the entities by OID
Is provided by SOS
Entities can be added any time by the SNMP Agent

## Slide 6: Requirements Management Services
Software- und
Organisations-
Service GmbH
Giesebrechtstr. 15
D-10629 Berlin
info@sos-berlin.com
http://www.sos-berlin.com
Questions?
Comments?
Feedback?